{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Tabelle1","Tabelle2","Tabelle3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Tabelle1","index":0,"n_rows":230,"n_cols":3,"rows_kept":230,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[null,"Aufmaß Schönbeinrealschule LOS 2 Stand 22.03.2006"]
[]
[]
["OG"]
["Raum","Menge","Material"]
[]
[700,"1Stk.","Deckendurchbruch bis 20cm"]
[701,"1 Stk.","Jung 506KOU+ Abdeckung volle Platte "]
["(Informatik1)","1 Stk.","Aufputzdose Telegärtner"]
[null,"1 Stk.","EDV Dose 2-fach AMJ"]
[null,"3 Stk.","Patchkabel 10 m"]
[null,"1 Stk.","Patchkabel 15 m"]
[null,"2 Stk.","Patchkabel 1 m rot"]
[]
[702,"2 Stk.","Relais 2-polig"]
["(Informatik2)","1 Stk.","Jung 506KOU+ Abdeckung volle Platte "]
[null,"1Stk.","Deckendurchbruch bis 20cm"]
[null,"6 Stk.","RJ45 Stecker"]
[null,"1 Stk.","Aufputzdose Telegärtner"]
[null,"1 Stk.","EDV Dose 2-fach AMJ"]
[null,"2 Stk.","Patchkabel 1 m rot"]
[null,"4 x 23,5m","Mantelleitung NYM/J 3 x 2,5²"]
[]
[719,"1 Stk.","EDV Dose 2-fach AMJ"]
[null,"1Stk.","Deckendurchbruch bis 20mm"]
[]
[700,"1 Stk.","EDV Dose 2-fach AMJ "]
[null,"2,47 m","BR Kanal Rehau Signo Ober-,Unterteil 70 x 130 mm"]
[null,"1 Stk.","BR Kanal Einbaudose"]
[null,"1 Stk.","Einfachrahmen "]
[null,"1,81 m","LF Kanal 35 x 20 mm"]
[]
[718,"2 m","BR Kanal Rehau Signo Ober-,Unterteil 70 x 130 mm"]
[null,"1Stk.","Deckendurchbruch bis 20cm"]
[null,"1 Stk.","EDV Dose 2-fach AMJ"]
[null,"1 Stk.","BR Kanal Einbaudose"]
[null,"1 Stk.","Einfachrahmen"]
[null,"1 Stk.","BR Kanal Endplatte"]
[]
[717,"2 m","BR Kanal Rehau Signo Ober-,Unterteil 70 x 130 mm"]
[null,"1Stk.","Deckendurchbruch bis 20cm"]
[null,"1 Stk.","EDV Dose 2-fach AMJ"]
[null,"1 Stk.","BR Kanal Einbaudose"]
[null,"1 Stk.","Einfachrahmen"]
[null,"1 Stk.","BR Kanal Endplatte"]
[]
[706,"2 m","BR Kanal Rehau Signo Ober-,Unterteil 70 x 130 mm"]
[null,"1Stk.","Deckendurchbruch bis 20cm"]
[null,"1 Stk.","EDV Dose 2-fach AMJ"]
[null,"1 Stk.","BR Kanal Einbaudose"]
[null,"1 Stk.","Einfachrahmen"]
[null,"1 Stk.","BR Kanal Endplatte"]
[]
[707,"2 m","BR Kanal Rehau Signo Ober-,Unterteil 70 x 130 mm"]
[null,"1Stk.","Deckendurchbruch bis 20cm"]
[null,"1 Stk.","EDV Dose 2-fach AMJ"]
[null,"1 Stk.","BR Kanal Einbaudose"]
[null,"1 Stk.","Einfachrahmen"]
[null,"1 Stk.","BR Kanal Endplatte"]
[]
[716,"2 m","BR Kanal Rehau Signo Ober-,Unterteil 70 x 130 mm"]
[null,"1Stk.","Deckendurchbruch bis 20cm"]
[null,"1 Stk.","EDV Dose 2-fach AMJ"]
[null,"1 Stk.","BR Kanal Einbaudose"]
[null,"1 Stk.","Einfachrahmen"]
[null,"1 Stk.","BR Kanal Endplatte"]
[]
[715,"2 m","BR Kanal Rehau Signo Ober-,Unterteil 70 x 130 mm"]
[null,"1Stk.","Deckendurchbruch bis 20cm"]
[null,"1 Stk.","EDV Dose 2-fach AMJ"]
[null,"1 Stk.","BR Kanal Einbaudose"]
[null,"1 Stk.","Einfachrahmen"]
[null,"1 Stk.","BR Kanal Endplatte"]
[]
[711,"2 m","BR Kanal Rehau Signo Ober-,Unterteil 70 x 130 mm"]
[null,"1Stk.","Deckendurchbruch bis 20cm"]
[null,"1 Stk.","EDV Dose 2-fach AMJ"]
[null,"1 Stk.","BR Kanal Einbaudose"]
[null,"1 Stk.","Einfachrahmen"]
[null,"1 Stk.","BR Kanal Endplatte"]
[]
[714,"2 m","BR Kanal Rehau Signo Ober-,Unterteil 70 x 130 mm"]
[null,"1Stk.","Deckendurchbruch bis 20cm"]
[null,"1 Stk.","EDV Dose 2-fach AMJ"]
[null,"1 Stk.","BR Kanal Einbaudose"]
[null,"1 Stk.","Einfachrahmen"]
[null,"1 Stk.","BR Kanal Endplatte"]
[]
[712,"1 Stk.","EDV Dose 2-fach AMJ"]
[null,"1Stk.","Deckendurchbruch bis 20cm"]
[null,"1 Stk.","Einfachrahmen"]
[]
[713,"1 Stk.","EDV Dose 2-fach AMJ"]
[null,"1Stk.","Deckendurchbruch bis 20cm"]
[null,"1,97 m","LF Kanal 30 x 30 mm"]
[null,"1 Stk.","Einfachrahmen"]
[null,"1 Stk.","Hohlwanddose"]
[]
["EG"]
[]
[603,"1 Stk.","EDV Dose einfach AMJ"]
[null,"1 Stk.","Aufputzdose Telegärtner"]
[]
[604,"1 Stk.","EDV Dose einfach AMJ"]
[null,"1 Stk.","Schuko-Steckdose 520Z"]
[]
[null,"1 Stk.","Aufputzset 2-fach Jung "]
[null,"0,68 m","LF Kanal 35 x 20 mm"]
[null,"0,81 m","LF Kanal 30 x 30 mm"]
[null,"1 Stk.","Zwischenrahmen"]
[null,"7 m","Mantelleitung NYM/J 3 x 2,5²"]
[null,"2 Stk","Auflegen bis 3x2,5 im Stromverteiler Hausmeister"]
[]
["Aula","1 Stk.","EDV Dose einfach AMJ"]
[null,"1 Stk.","Aufputzdose Telegärtner"]
[]
[605,"1 Stk.","EDV Dose einfach AMJ"]
[null,"1 Stk.","Aufputzdose Telegärtner"]
[]
[610,"2,07 m","BR Kanal Rehau Signo Ober-,Unterteil 70 x 130 mm"]
[null,"1Stk.","Deckendurchbruch bis 20cm"]
[null,"3 Stk.","Schuko-Steckdose Jung   520z"]
[null,"3 Stk.","Hohlwanddose Jung"]
[null,"6 Stk","Auflegen bis 3x2,5"]
[null,"2 Stk.","Doppelrahmen"]
[null,"0,46 m","LF Kanal 30 x 30 mm"]
[null,"1 Stk.","EDV Dose 2-fach AMJ"]
[null,"1 Stk.","Einfachrahmen"]
[null,"1 Stk.","BR Kanal Einbaudose"]
[]
[611,"1 Stk.","EDV Dose 2-fach AMJ"]
[null,"1Stk.","Deckendurchbruch bis 20cm"]
[null,"2Stk.","Schuko-Steckdose Jung "]
[null,"1Stk.","Abdeckrahmen Jung 3-fach CD500"]
[612,"1 Stk.","EDV Dose 2-fach AMJ"]
[null,"2Stk.","Schuko-Steckdose Jung  520z"]
[null,"1Stk.","Abdeckrahmen Jung 3-fach CD500"]
[null,"1Stk.","Deckendurchbruch bis 20cm"]
[]
[613,"2 m","BR Kanal Rehau Signo Ober-,Unterteil 70 x 130 mm"]
[null,"1Stk.","Deckendurchbruch bis 20cm"]
[null,"1 Stk.","EDV Dose 2-fach AMJ"]
[null,"1 Stk.","Einfachrahmen"]
[null,"1 Stk.","BR Kanal Endplatte"]
[null,"1 Stk.","BR Kanal Einbaudose"]
[]
[614,"6 Stk.","EDV Dose 2-fach AMJ"]
[null,"2Stk.","Deckendurchbruch bis 20cm"]
[null,"2 Stk.","EDV Dose einfach AMJ"]
[null,"14,35 m ","BR Kanal Rehau Signo Ober-,Unterteil 70 x 130 mm"]
[null,"8 Stk.","BR Kanal Einbaudose"]
[null,"8 Stk.","Einfachrahmen"]
[null,"3 Stk. ","BR Kanal Endstück"]
[]
[616,"0,16 m","LF Kanal 30 x 30 mm"]
[null,"1Stk.","Deckendurchbruch bis 20cm"]
[null,"2,06 m ","BR Kanal Rehau Signo Ober-,Unterteil 70 x 130 mm"]
[null,"1 Stk.","BR Kanal Einbaudose"]
[null,"1 Stk.","EDV Dose 2-fach AMJ"]
[null,"1 Stk.","Einfachrahmen"]
[null,"2Stk.","Schuko-Steckdose Jung "]
[null,"1Stk.","Abdeckrahmen Jung 3-fach CD500"]
[]
[617,"1 Stk. ","EDV Dose 2-fach AMJ"]
[null,"2Stk.","Deckendurchbruch / Wanddurchbruch bis 20cm"]
[]
[618,"2 m","BR Kanal Rehau Signo Ober-,Unterteil 70 x 130 mm"]
[null,"1Stk.","Deckendurchbruch bis 20cm"]
[null,"1 Stk.","BR Kanal Einbaudose"]
[null,"1 Stk.","Einfachrahmen"]
[null,"0,39 m","LF Kanal 30 x 30 mm"]
[null,"1 Stk.","BR Kanal Endplatte"]
[null,"1 Stk.","EDV Dose 2-fach AMJ"]
[]
["Zeichenvorbe.","1 Stk.","Zwischenrahmen"]
[null,"3 Stk.","Deckenpanele aufgemacht, zugemacht"]
[null,"1 Stk.","EDV Dose 2-fach AMJ"]
[]
[620,"1 Stk.","EDV Dose 2-fach AMJ"]
[null,"1 Stk.","Einfachrahmen"]
[null,null,"BR Kanal Einbaudose"]
[null,"1 Stk.","Durchbruch vom Kanal in Richtung Lüftungswand"]
[null,null,"Deckendurchbruch bis 20cm"]
[null,"2 Stk.","Deckenpanele aufgemacht, zugemacht"]
[]
["Technikvorbe.","1 Stk.","EDV Dose 2-fach AMJ"]
[null,"1 Stk.","Deckenpanele aufgemacht, zugemacht"]
[null,"1 Stk.","Zwischenrahmen"]
[]
[622,"2 m","BR Kanal Rehau Signo Ober-,Unterteil 70 x 130 mm"]
[null,"1 Stk.","Deckenpanele aufgemacht, zugemacht"]
[null,"1 Stk.","EDV Dose 2-fach AMJ"]
[null,"1 Stk.","Einfachrahmen"]
[null,"1 Stk.","BR Kanal Endplatte"]
[null,"1 Stk.","BR Kanal Einbaudose"]
[]
[623,"1 Stk.","Aufputzdose Telegärtner"]
[null,"1Stk.","Deckendurchbruch bis 20cm"]
[null,"1 Stk.","EDV Dose 2-fach AMJ"]
[]
[624,"0,68 m","LF Kanal 30 x 30 mm"]
[null,"2 m","BR Kanal Rehau Signo Ober-,Unterteil 70 x 130 mm"]
[null,"1 Stk. ","BR Kanal Einbaudose "]
[null,"1 Stk. ","EDV Dose 2-fach AMJ"]
[null,"1 Stk. ","Einfachrahmen"]
[null,"1 Stk. ","BR Kanal Endplatte"]
[]
[]
[]
["Lehrerzimmer","12 Stk.","EDV Dose einfach"]
[null,"12 Stk.","Einfachrahmen"]
[null,"12 Stk.","BR Kanal Einbaudosen"]
[]
[]
["Serverraum DV3","1 m","BR Kanal 70 x 170 "]
[null,"4 Stk.","Patchfeld  24 Port Cat. 6"]
[null,"1 Stk.","Rangierfeld"]
[]
["Serverraum DV1","1 Stk.","Deckenplatte montiert / demontiert"]
[]
["Musik","1 Stk.","Deckendurchbruch bis 20cm"]
[null,"1 Stk.","Deckenplatte demontiert, montiert"]
["Filmraum","1 Stk.","Deckendurchbruch bis 20cm"]
["Zeich.vorb.","1 Stk.","Durchbruch oberhalb der Decke in Technikraum 620"]
[null,null,"Deckendurchbruch bis 20cm"]
[null,"2 Stk.","Deckenpanele aufgemacht, zugemacht"]
[]
["Hausmeister","1Stk","Deckenpanele demontiert, montiert"]
[null,"1 Stk.","EDV Dose 2-fach AMJ"]
[null,"1 Stk.","Aufputzdose Telegärtner"]

{"sheet":"Tabelle2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Tabelle3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}