{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Tabelle1","Tabelle2","Tabelle3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Tabelle1","index":0,"n_rows":163,"n_cols":9,"rows_kept":163,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["Aufmaß",null,null," "]
["Schönbein-Realschule Metzingen LOS1"]
[]
[]
[]
[null,null,"Datum: 17.09.2003"]
[]
[]
["LV-Pos.","Bez.","Ort","Menge","EP","GP","Lieferdatum ","Menge","AZ"]
[{"$nulls":6}," "," "]
["01.01.01","Datenkabel 4x2xAWG23 ","siehe Messprotokoll-Zusammenfassung",2396.5,1.11,2660.1150000000002]
["01.01.01","Datenkabel 4x2xAWG23   .","siehe Messprotokoll- 5 weiter Strecken",170.1,1.11,188.811]
["01.01.03","Datendose CAT.6 2xRJ45 AP","Siehe Dokumentation LOS1",19,27.44,521.36]
["01.01.04","Datendose CAT.6 1xRJ45 AP","Siehe Dokumentation LOS1",1,23.88,23.88]
["01.01.05","AMJ Patchfeld 24xRJ45 Cat.6","Siehe Dokumentation ",3,85,255]
["01.01.06","Patchkabel 3m Cat.5e","LS-Nr.: 116 vom 16.09.2003",112,2.09,234.07999999999998]
["01.01.07","Patchkabel 2m Cat.5e","LS-Nr.: 116 vom 16.09.2003 ",112,2.02,226.24]
["01.01.08","Referenzstrecke","EDV-Raum EG mittl. Flur (Abstr.)",1,68,68]
["01.01.09","NEXT Messung CAT.6 ISO/E","siehe Messprotokolle",39,3.5,136.5]
[{"$nulls":5}," "]
["01.02.02","LWL I-Y 8G50/125","PC-Raum EG 803 nach  Kopierraum EG",64,2.89,184.96]
["01.02.03","Beschriftung","Siehe Dokumentation"," ",0.6," "]
["01.02.04","Spleissbox 19\" 1HE 4xSC-D","PC-Raum EG 803 und  Kopierraum EG",2,49,98]
["01.02.05","LWL Montage bzw. Spleiss","PC-Raum EG 803 und  Kopierraum EG",16,9,144]
["01.02.06","OTDR messung","PC-Raum EG 803 und  Kopierraum EG",8,5,40]
["01.02.07","LWL-Duplexkabel ","LS-Nr.: 117 vom 16.09.2003",2,12.27,24.54]
[" ",{"$nulls":4},0]
[{"$nulls":5},0]
["01.03.01","Serverschrank 2000x1000x800"," EDV-Raum EG Hausmeisterputzraum inkl. 2x5-fach Steckdosenleisten mit Blitzschutz auf 2 Stromkreisen aufgelegt,fertig montiert.",1,1190,1190]
["01.03.03","Rangierpanel Metallhaken","EDV-Raum EG Hausmeisterputzraum",1,23.7,23.7]
["01.03.04","Geräteboden 19\" 500mm","EDV-Raum EG Hausmeisterputzraum",3,32,96]
[{"$nulls":5},0]
["01.04.01","BR70/130 inkl. Ober-Unterteil","Klassenzimmer je 2m: 801,802, 820, 821 (Summe 8m) in 803: 35m",43,15.65,672.95]
["01.04.02","Trennwand BR70/130 LOS1","siehe Pos. 01.04.01",39,1.55,60.45]
["01.04.03","Kanalsteckd. 2-fach 220V","je 1x:801,802, 820, 821  14xin 803",18,16.8,302.40000000000003]
["01.04.04","Geräteeinbaudose","siehe Pos. 01.01.03  abzgl. 3xWürfel",17,2.89,49.13]
["01.04.04","Geräteeinbaudose","PC-Raum 803 in BR70/130",2,2.89,5.78]
["01.04.05","Wand-und Deckananschl.bl.",null,null,6.64,0]
["01.04.06","Rangierkanal 40/60 RAL9010","4m: Hausmeisterputzraum EG 8m: Raum 801,802, 803 (hinter Tafel)",12,4.12,49.44]
["01.04.07","Rangierkanal 20/35 RAL9010",null,null,3.89,0]
["01.04.08","Sammelhalter 30","Flur EG Decke",21,2.2,46.2]
["01.04.09","Sammelhalter 15","Flur EG Decke",20,1.89,37.8]
["01.04.10","Durchbr. 20x20x24cm","Hausmeisterputzraum EG",3,28,84]
["01.04.10","Durchbr. 20x20x24cm","Klassenzimmer 1x: 801, 802 804-807, 809-811, 815, 816, 820-821, 2x803, ",6,28,168]
[{"$nulls":5},0]
[{"$nulls":5},0]
[{"$nulls":5},0]
["01.04.11","Öffnen+Schliessen ZW-Decke","PC-Raum EG 803",2,3.9,7.8]
["01.04.11","Öffnen+Schliessen ZW-Decke","Flur vor PC-Raum EG 803",3,3.9,11.7]
[]
[]
[]
[]
[]
[]
["01.04.11","Öffnen+Schliessen ZW-Decke","Flur vor PC-Raum EG 803",3,3.9,11.7]
[null,null,null," ",null," "]
[{"$nulls":5}," "]
["01.05.01","NYM-3x1,5","PC-Raum EG 803",25,1.09,27.250000000000004]
["01.05.02","NYM-3x2,5","Klassenzimmer : 801,802, 820, 821 Zuleitungen 803: 21m",66,1.68,110.88]
["01.05.03","Einbauautomkat B16A","Stromverteiler Hausmeister-Putzraum",12,5.88,70.56]
["01.05.04","Anschl. 3x2,5",null,12,12,144]
["01.05.05","Pendelaufhängung",null,1,162,162]
["01.05.06","Knotenkette Edelstahl","PC-Raum EG 803",1,15.12,15.12]
["01.05.07","Antennensteckd. UP","PC-Raum EG 803",1,18,18]
["01.05.08","Lautsprechersteckd.","PC-Raum EG 803  2xBR-Kanal, 2xDecke",4,18.22,72.88]
["01.05.09","Antennenleitung KOAX 75Ohm","PC-Raum EG 803",30.2,1.79,54.058]
[" ",{"$nulls":4}," "]
[{"$nulls":5}," "]
["01.06.02","Obermonteur","siehe Rapporte",24,36,864]
["01.06.06","Hilfsmonteur","siehe Rapporte",2.5,22,55]
[{"$nulls":5}," "]
[{"$nulls":5}," "]
["NA01","Balkenwinkel liefern",null,11,3.79,41.69]
["NA02","NYM-J 5x4 liefern",null,8,1.44,11.52]
["NA03","Spelsber I12 Abzweigdose ","Hausmeisterputzraum EDV und PC-Raum 803, Decke",2,3.12,6.24]
["NA04","Kanal LE230/60 liefern","Hausmeisterputzraum EDV",2,12.88,25.76]
["NA05","Stromverteiler einreihig liefern","Putzraum ",1,38,38]
[" ",{"$nulls":4}," "]
["NA07","JUNG CD590 WW 2fach Rahmen liefern","PC-Raum EG 803",1,3.5,3.5]
["NA08","JUNG CD 590 WW CD-Wippe für Schalter liefern","PC-Raum EG 803",1,1.9,1.9]
["NA09","JUNG CD 520 WW CD-Schuko-Steckdose liefern","PC-Raum EG 803",1,4.1,4.1]
["NA10","JUNG 506 U Wechselschalter liefern  ","PC-Raum EG 803",1,4.55,4.55]
["NA11","KAT.6 Kabelmuffen 4DA lief.","PC-Raum EG 803",5,16.2,81]
["NA12","Datenkabel 4x2xAWG26 flex","PC-Raum EG 803",8,1.02,8.16]
["NA13","Lautsprecherkabel 2x2,5qmm liefern  ","PC-Raum EG 803",52.4,2.45,128.38]
["NA14","Diazet Element 20A inkl. Passchrauben und Montage liefern","Putzraum ",3,8.18,24.54]
[null," "]
[]
[]
[{"$nulls":5},9595.624]
{"$rows_empty":16}
[{"$nulls":8},"A2: 04.12.01"]
{"$rows_empty":15}
[{"$nulls":6},"24er statt 20er"]
{"$rows_empty":14}
[{"$nulls":8},"A2: 04.12.01"]
{"$rows_empty":18}
[{"$nulls":8},"A2: 04.12.01"]
[]
[]
[]
[]
[{"$nulls":8}," "]

{"sheet":"Tabelle2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Tabelle3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}